Caledonian Mining Cables

Portable Power Cables

Type W Two-Conductor Round Portable Power Cable 2kV

� Applications .............................................................................................................

These cables are designed for general use where bare grounding conductors are not required or desired�

� Standards .................................................................................................................

ICEA S-75-381/NEMA WC 58 ASTM B 172

ASTM B 33

CAN/CSA C22�2 No� 96

� Construction ............................................................................................................

Stranded Tinned Copper Conductor

EPR Insulation

Reinforced CPE Jacket

Conductors:

Stranded annealed tinned copper conductor�

Insulation:

Ethylene Propylene Rubber (EPR)�

Jacket:

Reinforced heavy-duty/extra-heavy-duty Chlorinated Polyethylene (CPE), black� (Cables having a nominal outside diameter of more than 2�0 inches require extra-heavy-duty jackets�)

� Options .....................................................................................................................

Other jacket materials such as CSP/PCP/NBR/PVC are available upon request�

Two-layer jacket with reinforcing fibre between the two layers can be oﬀered  as an option�

www.caledonian-cables.co.uk  www.addison-cables.com	5

Caledonian Mining Cables

Portable Power Cables

�  Mechanical and Thermal Properties ......................................................................

Minimum Bending Radius: 6�OD

Maximum Conductor Operating Temperature: +90℃

�  Dimensions and Weight ..........................................................................................

| Construction | No. of Strands | Nominal Insulation Thickness | Nominal Jacket Thickness | Nominal Overall Diameter | Nominal Weight | Ampacity |
| --- | --- | --- | --- | --- | --- | --- |
| No. of cores�AWG/ kcmil | - | inch | mm | inch | mm | inch | mm | lbs/kft | kg/km | A |
| 2�8 | 166 | 0�06 | 1�5 | 0�110 | 2�8 | 0�83 | 21�1 | 391 | 581 | 72 |
| 2�6 | 259 | 0�06 | 1�5 | 0�125 | 3�2 | 0�94 | 23�9 | 571 | 849 | 95 |
| 2�4 | 412 | 0�06 | 1�5 | 0�140 | 3�6 | 1�07 | 27�3 | 793 | 1180 | 127 |
| 2�2 | 259 | 0�06 | 1�5 | 0�155 | 3�9 | 1�26 | 32�1 | 1142 | 1699 | 167 |
| 2�1/0 | 414 | 0�08 | 2�0 | 0�170 | 4�3 | 1�51 | 38�3 | 1693 | 2520 | 217 |
| 2�2/0 | 522 | 0�08 | 2�0 | 0�170 | 4�3 | 1�65 | 41�9 | 1908 | 2840 | 250 |
| 2�3/0 | 658 | 0�08 | 2�0 | 0�190 | 4�8 | 1�77 | 45�0 | 2600 | 3870 | 286 |
| 2�4/0 | 829 | 0�08 | 2�0 | 0�190 | 4�8 | 1�92 | 48�8 | 2675 | 3980 | 328 |
| 2�250 | 973 | 0�095 | 2�4 | 0�205 | 5�2 | 2�10 | 53�3 | 3434 | 5110 | 363 |

Ampacity-Based on a conductor temperature of 90℃ and an ambient air temperature of 40℃, per ICEA S-75-381�

6	www.caledonian-cables.co.uk  www.addison-cables.com